## Table 1
[5 empty] | INTERNAL TEST REPORT | [10 empty] | Date :
| Name of Customer | [5 empty] | :
| PO NO & DATE | [5 empty] | :
| Offered Quantity | [5 empty] | :
| Item Description | [5 empty] | :
NOMINAL DATA
| TYPE |  | VOLTAGE (V) |  |  | PHASE |  | CURRENT (I) +10% |  | POWER (W) +10% |  | SPEED (rpm) ±10% |  | AIR VOLUME (CMH) -5% |  |  | FREQ. (Hz) |  | INSULATION
| SDB133T4 |  | 415 |  |  | 3 |  | 0.22 |  | 145 |  | 1650 |  | 720 |  |  | 50 |  | CLASS F
TEST RESULTS
| No | Sl. No. |  | Voltage (V) |  |  | Current (A) |  | Power (W) |  | SPEED (rpm) |  | AIR VOLUME (CMH) |  | I.R (@ 500V dc, > 5MΩ) |  |  | H.V Test 2 KV for 30 sec
1
2
3
4
5
6
7
8
9
10
11
12
13
Tested By Approved By Page 1 of 1