## HealthyReport_V0_4
Result for Testing Of Healthy Meters
Sr. No. | Meter Sr. No. | 1 phase /3 phase | Make | Capacity | Batch Number | Starting current Test |  | No Load Test |  | Limits of Error Test | [6 empty] | OverAll Status Pass/Fail | Remarks
[10 empty] | Imax | I Basic |  |  | 50%Ib | 50%Ib | 50%Ib
[6 empty] | Pulse Count | Status | Pulse Count | Status | UPF | UPF | 0.5Lag | 0.8 Lead | UPF | 0.5Lag | 0.8 Lead
Signature of Signature of Representative Testing agency Representative
** The format is indicative and may be changed with the approval of Nodal officer at any stage, as per requirement.