## HealthyReport_V0_6
Result for Testing Of Healthy Meters | [6 empty] | Meter Type
Sr. No. | Meter Sr. No. | Voltage Variation 80% U | RPS Normal | RPS Reverse | Limits of Error Test | [6 empty] | Repeatability |  |  | Status Pass/Fail | Remarks
[5 empty] | Imax | I Basic |  |  | 50%Ib | 50%Ib | 50%Ib | UPF - 50%Ib
[5 empty] | UPF | UPF | 0.5Lag | 0.8 Lead | UPF | 0.5Lag | 0.8 Lead | Reading1 | Reading2 | Reading3 |  |  | Freq 52.5 | VU RY:100U | VU Y:100U
Signature of Signature of Representative Testing agency Representative
Page: 1/2
Result for Testing Of Healthy Meters | [5 empty] | RefStd Initial |  |  |  | RefStd Final |  |  |  | Difference |  | 0.000
Sr. No. | Meter Sr. No. | Meter Constant | Capacity | PT Ratio | CT Ratio | Starting current Test |  | No Load Test |  | Dial Test |  |  |  |  | Status Pass/Fail | Remarks
UPF 50%Ib 0.05
[6 empty] | Pulse Count | Status | Pulse Count | Status | Dut Initial | Dut Final | Difference | Pulse Count | % Error
Signature of Signature of Representative Testing agency Representative
Page: 2/2