## HealthyReport_V1_0
LOE Reports
Sr.No. | Meter Serial.No | Limits of Error | [15 empty] | Status Pass/Fail | Remarks
|  | 100% Imax |  |  | 50% Imax |  |  | 100% Ib |  |  | 20% Ib |  |  | 10% Ib |  |  | 5% Ib
|  | UPF | 0.5L | 0.8C | UPF | 0.5L | 0.8C | UPF | 0.5L | 0.8C | UPF | 0.5L | 0.8C | UPF | 0.5L | 0.8C | UPF
Signature of Signature of Representative Testing agency Representative
Page: 1/4
VV , FV, VU Reports
Sr.No. | Meter Serial.No | Voltage Variation 90% U 100%Ib |  | Voltage Variation 110% U 100%Ib |  | Freq Variation 47.5 Hz |  | Freq Variation 52.5 Hz |  | Voltage Unbalance | [7 empty] | Status Pass/Fail | Remarks
|  | UPF | 0.5L | UPF | 0.5L | UPF | 0.5L | UPF | 0.5L | RY | YB | RB | R | Y | B
Signature of Signature of Representative Testing agency Representative
Page: 2/4
Repeat and RPS Reports
Sr.No. | Meter Serial.No | Repeatability | [11 empty] | RPS UPF Normal | RPS UPF Reverse | RPS 0.5Lag Normal | RPS 0.5Lag Reverse | Status Pass/Fail | Remarks
|  | UPF | [5 empty] | 0.5Lag
|  | Reading1 | Reading2 | Reading3 | Reading4 | Reading5 | Reading6 | Reading1 | Reading2 | Reading3 | Reading4 | Reading5 | Reading6
Signature of Signature of Representative Testing agency Representative
Page: 3/4
NoLoad, STA, Dial Test Reports | [5 empty] | RefStd Initial |  |  |  | RefStd Final |  |  |  | Difference
Sr.No. | Meter Serial.No | Meter Constant | Capacity | PT Ratio | CT Ratio | Starting current Test |  | No Load Test |  | Dial Test | [7 empty] | Status Pass/Fail | Remarks
UPF 50%Ib 0.05
[6 empty] | Pulse Count | Status | Pulse Count | Status | Dut Initial | Dut Final | Difference | Pulse Count | % Error | Status
Signature of Signature of Representative Testing agency Representative
Page: 4/4