## HealthyReport_V0_6
Result for Testing Of Healthy Meters | [6 empty] | Meter Type |  |  | 1 phase |  |  | 3200 | 41 | 31
Sr. No. | Meter Sr. No. | Make | Capacity | Batch Number | Limits of Error Test | [6 empty] | Repeatability |  |  | Status Pass/Fail | Remarks
[5 empty] | Imax | I Basic |  |  | 50%Ib | 50%Ib | 50%Ib | UPF - 50%Ib
[5 empty] | UPF | UPF | 0.5Lag | 0.8 Lead | UPF | 0.5Lag | 0.8 Lead | Reading1 | Reading2 | Reading3
1 | 110 |  | 10-60A | [5 empty] | -0.085 | +0.065 | +0.095 |  |  |  | Pass
2 | 111 |  | 10-60A | [5 empty] | -0.191 | -0.117 | -0.122 |  |  |  | Pass
3 | 112 |  | 10-60A | [5 empty] | -0.188 | -0.258 | -0.256 |  |  |  | Fail
4 | 113 |  | 10-60A | [5 empty] | -0.139 | -0.316 | -0.302 |  |  |  | Fail
5 | 114 |  | 10-60A | [5 empty] | +0.128 | +0.473 | +0.505 |  |  |  | Fail
6 | 120 |  | 10-60A | [5 empty] | -0.246 | -0.234 | -0.277 |  |  |  | Pass
7 | 121 |  | 10-60A | [5 empty] | -0.063 | +0.234 | +0.234 |  |  |  | Pass
8 | 122 |  | 10-60A | [5 empty] | +0.076 | +0.343 | +0.314 |  |  |  | Pass
9 | 123 |  | 10-60A | [5 empty] | +0.129 | -0.043 | -0.057 |  |  |  | Pass
10 | 124 |  | 10-60A | [5 empty] | +0.023 | +0.285 | +0.297 |  |  |  | Pass
Signature of Signature of Representative Testing agency Representative
Page: 1/2
Result for Testing Of Healthy Meters | [5 empty] | RefStd Initial |  | 0.0 |  | RefStd Final |  | 0.051 |  | Difference |  | 0.051
Sr. No. | Meter Sr. No. | Meter Constant | Capacity | Batch Number | Make | Starting current Test |  | No Load Test |  | Dial Test |  |  |  |  | Status Pass/Fail | Remarks
UPF 50%Ib 0.05
[6 empty] | Pulse Count | Status | Pulse Count | Status | Dut Initial | Dut Final | Difference | Pulse Count | % Error
1 | 110/1 | 3201 | 10-60A |  | 21 | 54 | Pass | 0 | Pass | 446.75 | 446.81 | 0.060 | 163 | 17.647 | Pass
2 | 111/2 | 3202 | 10-60A |  | 22 | 54 | Pass | 0 | Pass | 100 | 300 | 200.000 | 163 | 392056.863 | Pass
3 | 112/3 | 3203 | 10-60A |  | 23 | 54 | Pass | 0 | Pass | 200 | 400 | 200.000 | 163 | 392056.863 | Pass
4 | 113/4 | 3204 | 10-60A |  | 24 | 54 | Pass | 0 | Pass | 400 | 500 | 100.000 | 163 | 195978.431 | Pass
5 | 114/5 | 3205 | 10-60A |  | 25 | 54 | Pass | 0 | Pass | 500 | 600 | 100.000 | 163 | 195978.431 | Pass
6 | 120/11 | 3211 | 10-60A |  | 121 | 54 | Pass | 0 | Pass | 600 | 700 | 100.000 | 163 | 195978.431 | Pass
7 | 121/12 | 3212 | 10-60A |  | 122 | 54 | Pass | 0 | Pass | 700 | 800 | 100.000 | 163 | 195978.431 | Pass
8 | 122/13 | 3213 | 10-60A |  | 123 | 54 | Pass | 0 | Pass | 800 | 900 | 100.000 | 164 | 195978.431 | Pass
9 | 123/14 | 3214 | 10-60A |  | 124 | 54 | Pass | 0 | Pass | 900 | 1000 | 100.000 | 163 | 195978.431 | Pass
10 | 124/15 | 3215 | 10-60A |  | 125 | 54 | Pass | 0 | Pass | 1000 | 1100 | 100.000 | 164 | 195978.431 | Pass
Signature of Signature of Representative Testing agency Representative
Page: 2/2